Annual Drinking Water Quality Report for 2014

Lyon Mountain Water District

Lyon Mountain NY

Public Water Supply ID# NY0900215

#### Introduction

To comply with State regulations, Lyon Mountain Water District will be annually issuing a report describing the quality of your drinking water.  The purpose of this report is to raise your understanding of drinking water and awareness of the need to protect our drinking water sources.  Last year, your tap water met all State drinking water health standards.  We are proud to report that our system did not violate a maximum contaminant level or any other water quality standard.  This report provides an overview of last year’s water quality.  Included are details about where your water comes from, what it contains, and how it compares to State standards.

If you have any questions about this report or concerning your drinking water, please contact Lloyd Clukey, Chief Operator @ 735-8729.  We want you to be informed about your drinking water.  If you want to learn more, please attend any of our regularly scheduled town board meetings.  The meetings are held on the third Wednesday of the month at the town hall.

Where does our water come from?

In general, the sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activities.  Contaminants that may be present in source water include: microbial contaminants; inorganic contaminants; pesticides and herbicides; organic chemical contaminants; and radioactive contaminants.  In order to ensure that tap water is safe to drink, the State and the EPA prescribe regulations which limit the amount of certain contaminants in water provided by public water systems.  The State Health Department’s and the FDA’s regulations establish limits for contaminants in bottled water which must provide the same protection for public health.

Our water system serves approximately 750 individuals through 250 service connections. Our water comes from two drilled wells, is then chlorinated and pumped into a 275,000-gallon glass lined storage tank. From there it is gravity feed to all customers.

The NYS DOH has completed a source water assessment for this system, based on available information.  Possible and actual threats to this drinking water source were evaluated.  The state source water assessment includes a susceptibility rating based on the risk posed by each potential source of contamination and how easily contaminants can move through the subsurface to the wells.  The susceptibility rating is an estimate of the potential for contamination of the source water, it does not mean that the water delivered to consumers is, or will become contaminated.  See section “Are there contaminants in our drinking water?” for a list of the contaminants that have been detected.  The source water assessments provide resource managers with additional information for protecting source waters into the future.

As mentioned before, our water is derived from 2 drilled wells. The source water assessment has rated these wells as having a medium-high susceptibility to microbials and nitrates.  These ratings are due primarily to the close proximity of a permitted discharge facility (industrial/commercial facilities that discharge wastewater into the environment and are regulated by the state and/or federal government).   Please note that, while the source water assessment rates our well as being susceptible to microbials, our water is disinfected to ensure that that the finished water delivered into your home meets the New York State drinking water standards for microbial contamination. A copy of the assessment, including a map of the assessment area, can be obtained by contacting us, as noted.

Are there contaminants in our drinking water?

As the State regulations require, we routinely test your drinking water for numerous contaminants. These contaminants include: total coliform, radiologicals, nitrate, lead and copper, haloacetic acids, primary inorganic compounds, total trihalomethanes, principal organic compounds, and synthetic organic compounds.  The table presented depicts which compounds were detected in your drinking water.  The State allows us to test for some contaminants less than once per year because the concentrations of these contaminants do not change frequently.  Some of our data, though representative, are more than one year old.

It should be noted that all drinking water, including bottled drinking water, might be reasonably expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling the EPA’s Safe Drinking Water Hotline (800-426-4791) or the Clinton County Health Department at (518-565-4840).

| Table of Detected Contaminants |
| --- |
| Contaminant | Violation Yes/No | Date of Sample | Level Detected ( Avg/Max ) (Range) | Unit Measure-ment | MCLG | Regulatory Limit (MCL, TT or AL) | Likely Source of Contamination |
| Copper (1) | No | 7/24/14 | 90th = 0.19 Range – 0.026 to 0.20 | mg/l | 1.3 | AL = 1.3 | Corrosion of household plumbing, erosion of natural deposits |
| Lead (2) | No | 7/24/14 | 90th = 1 Range - < 1 to 200 | ug/l | 0 | AL = 15 | Corrosion of household plumbing, erosion of natural deposits |
| Total Trihalomethanes( TTHM’s) | No | 08/20/14 | 6.5 | ug/l | N/A | MCL = 80 | By-product of drinking water chlorination needed to kill harmful organisms |
| Total Haloacetic Acids (HAA5’s) | No | 08/20/14 | 2.6 | ug/l | N/A | MCL = 60 | By-product of drinking water chlorination needed to kill harmful organisms |
| Nitrate | No | 7/24/14 | 0.30 | mg/l | 10 | MCL = 10 | Runoff from fertilizer use, leaching from septic tanks, erosion of natural deposits |
| Fluoride | No | 10/02/13 | 0.2 | mg/l | N/A | MCL = 2.2 | Erosion of natural deposits |
| Barium | No | 10/02/13 | 0.013 | mg/l | 2 | 2 | Discharge from drilling waste, erosion of natural deposits |
| Gross Alpha Particles | No | 5/1/10 | 0.8 | pci/l | 15 | 15 | Erosion of natural deposits |
| Gross Beta Particles | No | 05/11/10 | 2.0 | pci/l | 15 | 15 | Erosion of natural deposits |

Notes:

1- The level presented represents the 90th percentile of the 10 sites tested. A percentile is a value on a scale of 100 that indicates the percent of a distribution that is equal to or below it. In this case, 10 samples were collected at your water system and the 90th percentile value for copper was the 2nd highest sample (0.19 mg/l). The action level for copper was not exceeded at any of the sites tested.

2 - The level presented represents the 90th percentile (1 ug/l) of the 10 samples collected.  The action level for lead was not exceeded at any of the sites tested.

Definitions:

Maximum Contaminant Level  (MCL): The highest level of a contaminant that is allowed in drinking water.  MCLs are set as close to the MCLGs as feasible.

Maximum Contaminant Level Goal (MCLG): The level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs allow for a margin of safety.

Action Level  (AL): The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

Treatment Technique (TT): A required process intended to reduce the level of a contaminant in drinking water.

Non-Detects (ND): Laboratory analysis indicates that the constituent is not present.

Milligrams per liter (mg/l): Corresponds to one part of liquid in one million parts of liquid

Micrograms per liter (ug/l): Corresponds to one part of liquid in one billion parts of liquid (parts per billion - ppb).

Picocuries per liter (pCi/L): A measure of the radioactivity in water.

What does this information mean?

As you can see by the table, our system had no violations.  We have learned through our testing that some contaminants have been detected; however, these contaminants were detected below the level allowed by the State.

#### Is our water system meeting other rules that govern operations?

We are required to monitor your drinking water for specific contaminants on a regular basis.  Results of regular monitoring are an indicator of whether or not your drinking water meets health standards.  During 2014, our system was in compliance with applicable State drinking water operating, monitoring requirements.

#### Do I Need to Take Special Precautions?

Although our drinking water met or exceeded State and Federal regulations, some people may be more vulnerable to disease causing microorganisms or pathogens in drinking water than the general population.  Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections.  These people should seek advice from their health care provider about their drinking water.  EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium, Giardia and other microbial pathogens are available from the Safe Drinking Water Hotline (800-426-4791).

Another concern may be the presence of lead in your drinking water.  If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children.  In babies and children, exposure to lead in drinking water above the action level can result in delays in physical and mental development, along with slight deficits in attention span and learning abilities.  Lead in drinking water is primarily from materials and components associated with service lines and home plumbing.  The Lyon Mountain Water District is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components.  When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking.  The Lyon Mountain Water District collects 10 samples from residences every 3 years for lead and copper analysis.  The next set of samples are due to be collected between June and September of 2017.  If you are concerned about lead in your water, you may wish to have your water tested.  Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline (800-426-4791) or at http://www.epa.gov/safewater/lead

###### Why Save Water and How to Avoid Wasting It?

Although our system has an adequate amount of water to meet present and future demands, there are a number of reasons why it is important to conserve water:

        Saving water saves energy and some of the costs associated with both of these necessities of life;

        Saving water reduces the cost of energy required to pump water and the need to construct costly new wells, pumping systems and water towers; and

        Saving water lessens the strain on the water system during a dry spell or drought, helping to avoid severe water use restrictions so that essential fire fighting needs are met.

You can play a role in conserving water by becoming conscious of the amount of water your household is using, and by looking for ways to use less whenever you can.  It is not hard to conserve water.  Conservation tips include:

        Automatic dishwashers use 15 gallons for every cycle, regardless of how many dishes are loaded.  So get a run for your money and load it to capacity.

        Turn off the tap when brushing your teeth.

        Check every faucet in your home for leaks.  Just a slow drip can waste 15 to 20 gallons a day.  Fix it up and you can save almost 6,000 gallons per year.

        Check your toilets for leaks by putting a few drops of food coloring in the tank, watch for a few minutes to see if the color shows up in the bowl.  It is not uncommon to lose up to 100 gallons a day from one of these otherwise invisible toilet leaks.  Fix it and you save more than 30,000 gallons a year.

Closing

Thank you for allowing us to continue to provide your family with quality drinking water this year.  In order to maintain a safe and dependable water supply we sometimes need to make improvements that will benefit all of our customers.  The costs of these improvements may be reflected in the rate structure.  Rate adjustments may be necessary in order to address these improvements.  We ask that all our customers help us protect our water sources, which are the heart of our community.  Please call our office if you have questions (492-7541).